| Book Name: | Science and Technology: Developments and Applications |
| --- | --- |
| Manuscript Number: | Ms_BPR_5201 |
| Title of the Manuscript: | Assessment and Commissioning of Electrical Substation Grid Testbed with a Real-Time Simulator and Protective Relays/Power Meters in the Loop |
| Type of the Article | BOOK CHAPTER |

Special note:

A research paper already published in a journal can be published as a Book Chapter in an expanded form with proper copyright approval.

Source Article:

This chapter is an extended version of the article published by the same author(s) in the following journal.

Energies 2023, 16(11), 4407.

https://doi.org/10.3390/en16114407

| ## PART 1: Comments |  |  |
| --- | --- | --- |
|  | ## Reviewer’s comment Artificial Intelligence (AI) generated or assisted review comments are strictly prohibited during peer review. | ## Author’s Feedback (Please correct the manuscript and highlight that part in the manuscript. It is mandatory that authors should write his/her feedback here) |
| Please write a few sentences regarding the importance of this manuscript for the scientific community. A minimum of 3-4 sentences may be required for this part. | The manuscript is highly relevant as it addresses the critical challenge of energy sustainability in Nigeria. Also, the model employed has a potential to contribute significantly to renewable energy research as it demonstrating practical solutions for balancing energy generation, storage and cost efficiency. |  |
| Is the title of the article suitable? (If not please suggest an alternative title) | The title is well suitable |  |
| ## Is the abstract of the article comprehensive? Do you suggest the addition (or deletion) of some points in this section? Please write your suggestions here. | The abstract is comprehensive, however, author should include the following: - Specific energy capacity (1,370.48 kWh) and how it meets community demand. - The environmental and economic benefits of the proposed system. - Mention the simulation tools or models used for validation. |  |
| Is the manuscript scientifically, correct? Please write here. | The manuscript is scientifically sound, all calculations, modeling, and assumptions are well-validated |  |
| Are the references sufficient and recent? If you have suggestions of additional references, please mention them in the review form. | The refrences are sufficient and recent, however, more recent studies from 2024 to 2025 should be included to ensure that the work reflects the latest advancement. |  |
| ## Is the language/English quality of the article suitable for scholarly communications? | The language is very suitable for scholarly communication. |  |
| ## Optional/General comments | The manustrict is well documented. However, author should adjust the following: - Ensure that the introduction clearly defines the research gap. - Consider adding a graphical representation (e.g., system layout or energy flow diagram) to improve readability. - A sensitivity analysis or cost-benefit analysis could further strengthen the study. |  |

| PART 2: |  |  |
| --- | --- | --- |
|  | ## Reviewer’s comment The munustrict should be accepted with minor revision | ## Author’s comment (if agreed with the reviewer, correct the manuscript and highlight that part in the manuscript. It is mandatory that authors should write his/her feedback here) |
| Are there ethical issues in this manuscript? | (If yes, Kindly please write down the ethical issues here in detail) |  |

Reviewer details:

Balogun Abass, Univeristy of Ilorin., Nigeria