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	PART  1: Comments


	
	Reviewer’s comment
Artificial Intelligence (AI) generated or assisted review comments are strictly prohibited during peer review.

	Author’s Feedback (Please correct the manuscript and highlight that part in the manuscript. It is mandatory that authors should write his/her feedback here)

	Please write a few sentences regarding the importance of this manuscript for the scientific community. A minimum of 3-4 sentences may be required for this part.

	The title highlights a critical advancement in optical rotation detection systems by addressing the suppression of magnetic noise, which can degrade measurement accuracy. It focuses on the effects of elliptically polarized light, it underscores a specific challenge in achieving precise optical measurements in the presence of magnetic interference. This work is significant for improving the sensitivity and reliability of optical detection technologies used in fields like physics and engineering. Ultimately, the title reflects a contribution to enhancing the performance of systems reliant on accurate polarization-based measurements.

	

	Is the title of the article suitable?
(If not please suggest an alternative title)

	The title is clear and suitable
	

	Is the abstract of the article comprehensive? Do you suggest the addition (or deletion) of some points in this section? Please write your suggestions here.

	The abstract is strong in its concise presentation of a specialized topic, with a clear problem, method, and result. It is scientifically sound and relevant to the field of atomic magnetometry. However, it could be improved by clarifying technical terms, providing quantitative context for the sensitivity improvement, specifying the compensation method, and briefly mentioning broader applications. These changes would enhance accessibility, impact, and appeal to both specialists and interdisciplinary readers.

	

	Is the manuscript scientifically, correct? Please write here. 
	Yes
	

	Are the references sufficient and recent? If you have suggestions of additional references, please mention them in the review form.
-
	Yes
	

	
Is the language/English quality of the article suitable for scholarly communications?

	Yes
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	Reviewer’s comment
	Author’s comment (if agreed with the reviewer, correct the manuscript and highlight that part in the manuscript. It is mandatory that authors should write his/her feedback here)

	Are there ethical issues in this manuscript? 

	(If yes, Kindly please write down the ethical issues here in detail)
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