| Book Name: | Essentials of Endodontic Gadgets: Tools for the Modern Practitioner |
| --- | --- |
| Manuscript Number: | Ms_BPR_5645 |
| Title of the Manuscript: | Essentials of Endodontic Gadgets: Tools for the Modern Practitioner |
| Type of the Article | Complete Book |

| ## PART 1: Comments |  |  |
| --- | --- | --- |
|  | ## Reviewer’s comment Artificial Intelligence (AI) generated or assisted review comments are strictly prohibited during peer review. | ## Author’s Feedback (Please correct the manuscript and highlight that part in the manuscript. It is mandatory that authors should write his/her feedback here) |
| Please write a few sentences regarding the importance of this manuscript for the scientific community. A minimum of 3-4 sentences may be required for this part. | - When reviewing this chapter of the book, the focus was on the devices and machines used in the field of dentistry, and this is excellent, especially for doctors who have recently graduated from college. - On the other hand, the focus was on the modernity used in various types of equipment, which gives patients confidence and reassurance, which in turn gives complete confidence to both patients and dentists. - Radiography, now used in modern technologies, helps doctors diagnose medical conditions rather than relying on their own experience. The success rate of diagnosis may be unsatisfactory or may cause side effects that could have a future impact on patients' overall health. This increases patients' fear of visiting dentists. Therefore, the use of the main diagnostic devices discussed in this second chapter of the book has given patients and doctors complete confidence, as shown below: • Pulp scanners (thermal and electrical) • Transilluminators • Digital radiography systems • Cone beam computed tomography Cone beam computed tomography (CBCT) • Dental laziness scanner and bite testing tools • Intraoral cameras • Diagnostic fiber optic lights • Diagnostic rings and magnification systems. - This edition of the book contains approximately 90% or more of the latest techniques and equipment for dental treatment and early detection of disease. It may also help doctors identify damage, such as gum cancer or root canal inflammation. Therefore, this edition of the book can be used as a modern scientific and technical reference in the field of dental industry and treatment. |  |
| Is the title of the article suitable? (If not please suggest an alternative title) | The title is very appropriate for the book's contents. |  |
| ## Is the abstract of the article comprehensive? Do you suggest the addition (or deletion) of some points in this section? Please write your suggestions here. | The book's abstract includes the entire book's contents. There is no need to add or delete any part of the abstract . |  |
| Is the manuscript scientifically, correct? Please write here. | Yes, the manuscript is scientifically and was written using scientific equipment and reputable companies in the field of dentistry. This makes the manuscript very good. As I suggested above, it can be used as a curriculum for dental school students. |  |
| Are the references sufficient and recent? If you have suggestions of additional references, please mention them in the review form. - | Yes, most of the references used are recent, but references dating back to before 2010 may be addressed or replaced. Considering that the devices used in the manuscript are mostly modern, we certainly won't eliminate older references. However, the more recent the references in the manuscript, the more reliable it will be. Some older references have been identified, and the matter is certainly up to the researchers responsible for writing this reference. |  |
| ## Is the language/English quality of the article suitable for scholarly communications? | English language quality is good |  |
| ## Optional/General comments |  |  |

| PART 2: |  |  |
| --- | --- | --- |
|  | ## Reviewer’s comment | ## Author’s comment (if agreed with the reviewer, correct the manuscript and highlight that part in the manuscript. It is mandatory that authors should write his/her feedback here) |
| Are there ethical issues in this manuscript? | (If yes, Kindly please write down the ethical issues here in detail) |  |

Reviewer details:

Hazim Saad Jabbar Al-Maliki, University of Basrah, Iraq